## Sheet1
Status | ProductNumber | WebsiteName | ProductDescription | Watts | ColorTemperature | Voltage | Amperage | InitialLumens | Efficacy | BeamAngle | Dimmable | CRI | LifeL70 | IPRating | THD | PowerFactor | OpeartingTemperature | Housing | Base | PowerCordLength | MountingType | Finish | FinishColor | TradeSize | OptionalAccessories | OptionalAccessoriesDescription | LifecycleStatus | UnitLength | UnitHeight | UnitWidth | UnitGrossWeight | QtyPerCarton | QtyPerMasterCarton | MasterCartonWeight | MasterCartonLength | MasterCartonHeight | MasterCartonWidth | CartonWeight | CartonLength | CartonHeight | CartonWidth | QtyPerSkid | UPC | GTIN | BestPrice | VIPAPrice | VIPBPrice | WholesaleAPrice | WholesaleBPrice | WholesaleCPrice | WholesaleDPrice | WholesaleEPrice | ESCOAPrice | ESCOBPrice | ESCOCPrice | ContractorAPrice | ContractorBPrice | ContractorCPrice | ContractorDPrice | SuggestedTradePrice | DisplayStockOnWebsite | WarehouseLocationAB | WarehouseLocationBC | WarehouseLocationON | ABQTY | ABQuantityUnavailable | ONQTY | ONQuantityUnavailable | BCToONBranchTransferETA | BCQty | BCQuantityUnavailable | ONToBCBranchTransferQty | ONToBCBranchTransferQtyHidden | ONToBCBranchTransferETA | BCToONTransferNumber | BCToONTransferQtyTotal | ONToBCTransferNumber | ONToBCTransferQtyTotal | TotalAvailableForSale | TotalStockOnHand | SupplierQtyOrderedTotal | CertificationsListed | ManufacturercULNumber | CSCcULNumber | ManufacturerDLCNumber | CSCDLCNumber | DLCPremium | IncomeAccountId | Cost | LastFOBCost | PurchaseTaxCode | ExpenseAccount | Manufacturer | ProductNumberOnFixture | ManufacturerProductNumber | CountryofOrigin | LEDChip | HSCode | DriverBrand | DriverModelNumber | ManufacturerBrochureFileURL | ManufacturerLM79 | RelatedProductsId | SuggestedFieldIds | ReminderAccIds | Notes | PageTitle | StoreFrontName01 | StoreFrontGridDescription | StoreFrontDescription | Clearance | ShowOnWebsite | LiquidationBlowOut | Highlight | StoreFrontShortDescription | Departments | ProductType | ProductSeries | ProductSheet | ProductSheetImage | IES01File | IES02File | IES03File | IES04File | TechnicalBulletinDimming | Diagram | OperationDuration | BallastCompatibilityList | InstallationInstructions | OperatingInstructions | Miscellaneous1 | Miscellaneous2 | Video | BarCodeImage | LowResPhoto01 | LowResPhoto02 | HighResPhoto01 | HighResPhoto02 | HighResPhoto03 | HighResPhoto04 | Keywords | MetaDescription
Active | 210041E | Stepdown Transformer22 | Stepdown Transformer, 347-240V, 50VA, Hub Mount | 50W | 3000-5000K | 347-240V | [18 empty] | AWP02-120W-40K-347V, FL01-150W-SF |  | End of Life |  |  |  |  | 15 | [5 empty] | 56.3 lbs |  |  |  | 5 | 845599040279 | 10845599040276 | $28.05 | $28.75 | $29.03 | $29.45 | $30.15 | $30.86 | $31.56 | $32.26 | $32.96 | $33.66 | $34.36 | $35.06 | $35.76 | $36.47 | $37.17 | $44.68 | Yes |  | PK4 |  | 10 | 1 | 59 | 20 |  | 37 | 0 | 3 | 2 |  |  | 0 |  | 3 | -996 | 132 | 0 | cUL, DarkSky |  |  |  |  | N/A |  | $5.00 | $5.00 | Out of Scope | Cost of Goods Sold | Amber Crystals |  | 12345 | China |  | 100001 |  |  | A Test File 9_07062022080628.pdf | CSC_LED_Shipping_Policy.pdf | FL04-150W-50K-WH, AWP02-120W-40K-347V, AWP02-80W-40K-WH-347V, FL01-150W-SF |  | FL04-150W-50K-WH |  | 210041E | Stepdown Transformer22 | 50VA ¦ 347-240V ¦ Hub Mount | 347V Stepdown Transformer | No | Yes | No |  | 50VA ¦ 347-240V ¦ Hub Mount | Accessories | Auxiliary Products | Mounting Kits | 12V Motion sensor HD016VCR 1HD016VCR 2(1).pdf |  | RWP-80W-40K-IES.ies | SS-HG70-20W-BK-IES.ies | SS-HG70-20W-BK-IES.ies | [11 empty] | 210041E-Low-Res-Photo-1.jpg |  | 210041E-High-Res-Photo-1.jpg |  |  |  |  | Hi there!!!!!!!!!!!
Active | AWP02-120W-40K-347V | AWP02 series Wall Pack | Architectural Style, Wall Pack, 120W, 4000K, 347V, 13796lm, Bronze, 10-year warranty, cUL, DLC, IP65, Low Profile, 0-90 deg. Adjustable, dimmable driver | 120W | 4000K | 347V | 1.0 A | 13796 | 111.44 LM/W | 90x120° |  | 83.5 | 50000 | IP65 | 13.26% | 0.93 | -40°C to 40°C | Aluminum, Tempered Glass | [8 empty] | End of Life |  |  |  | 10.6 lbs | 2 | [5 empty] | 88.18 lbs | 5.1 IN | 3.1 IN | 4.1 IN | 10 | 845599030492 | 10845599030499 | $182.26 | $186.82 | $188.64 | $191.37 | $195.93 | $200.49 | $205.04 | $209.60 | $214.16 | $218.71 | $223.27 | $227.83 | $232.38 | $236.94 | $241.49 | $290.34 | Yes |  | 12C |  | 41 | 0 | 41 | 5 |  | 289 | 8 | 0 | 0 |  |  | 2 |  | 0 | 2048 | 388 | 2019 | cUL, DarkSky, DLC |  |  |  | PD2ZYW4H | N | Sales of Product Income | $3.86 | $2.58 | Out of Scope | Cost of Goods Sold |  |  |  | China | [10 empty] | AWP02-120W-40K-347V | AWP02 series Wall Pack | 120W ¦ 4000K ¦ 347V | Low profile - High Performance Adjustable 0-90º LED: Lumileds Dimmable Driver Bronze finish | No | Yes | No |  | 120W ¦ 4000K ¦ 347V | Outdoor | Wall Packs | Lumitape | AWP02-120W-40K-Product-Sheet.pdf |  | LHB03-220W-xxK-UD.ies | [13 empty] | FL04-150W-50K-WH-Low-Res-Photo-1.jpg | AWP02-120W-40K-347V_0401_041022451169677.jpg | FL04-150W-50K-WH-High-Res-Photo-1.jpg |  |  |  | LED Wall Pack,LED Commercial Wall Pack,LED Architectural Wall Pack,120W LED Wall Pack,Architectural Wall Pack,AWP | LED Architectural Style Wall Pack from CSC LED. Adjustable 0-90º, 120W, 4000K, 347V. Low profile - High Performance. Featuring high-end style with super bright, energy efficient LEDs.
Active | AWP02-80W-40K-WH-347V | AWP02 series Wall Pack | Architectural Style, Wall Pack, 80W, 4000K, 347V, 9056lm, White, 10-year warranty, cUL, DLC, IP65, Low Profile, 0-90 deg. Adjustable, dimmable driver | 80W | 3000K,4000K,5000K | 347V |  | 9056 | 112.32 LM/W | 90x120° |  | 84.2 | 50000 | IP65 | 13.23% | 0.95 | -40°C to 40°C | Aluminum, Tempered Glass | [6 empty] | FL04-150W-50K-WH, 210041E, AWP02-120W-40K-347V, FL01-150W-SF |  | Active |  |  |  | 10.5 lbs | 2 | [6 empty] | 55.0 IN | 56.0 IN | 12.0 IN | 12 | 845599030478 | 10845599030475 | $166.50 | $170.66 | $172.33 | $174.83 | $178.99 | $183.15 | $187.31 | $191.48 | $195.64 | $199.80 | $203.96 | $208.13 | $212.29 | $216.45 | $220.61 | $265.23 | Yes |  | 12B |  | 0 | 50 | 0 | 0 |  | 815 | -2 | 10 | 10 |  |  | 0 |  | 10 | -220 | 883 | 20 | cUL, DLC |  |  |  | PWF5B6C9 | N/A | Sales of Product Income | $1.00 | $0.00 | Out of Scope | Cost of Goods Sold | [10 empty] | FL04-150W-50K-WH, 210041E, AWP02-120W-40K-347V | FL04-150W-50K-WH, 210041E | FL04-150W-50K-WH, AWP02-120W-40K-347V, FL01-150W-SF |  | AWP02-80W-40K-WH-347V | AWP02 series Wall Pack | 80W ¦ 4000K ¦ 347V ¦ White | Exceptional value and performance in a slim, versatile package Integral ratcheting pivot system Dark Sky compliant in fully lowered position Excellent colour rendering and high efficacy (over 100lm/W) Multiple power entry points (1/2" NPT) Or standard junction box mount with facility for photocell White finish | No | Yes | No |  | 80W ¦ 4000K ¦ 347V ¦ White | Accessories | Wall Packs | Tri-proof | CDL-27W-40K-Product-Sheet.pdf |  | RWP-80W-40K-IES.ies | SS-HG70-20W-BK-IES.ies | [12 empty] | FL04-150W-50K-WH-Low-Res-Photo-1.jpg |  | FL04-150W-50K-WH-High-Res-Photo-1.jpg |  |  |  | LED Wall Pack,LED Commercial Wall Pack,LED Architectural Wall Pack,Architectural Wall Pack 80W WH 347V,AWP02,Outdoor | LED Architectural Style Wall Pack from CSC LED. Adjustable 0-90º, 80W, 4000K, 347V, White. Low profile - High Performance. Featuring high-end style with super bright, energy efficient LEDs.
Active | CC-3-SWITCH | www.test.com | CC-3-SWITCH | [23 empty] | Active | [6 empty] | 2.0 lbs | 6.2 IN | 8.6 IN | 1.2 IN | 2 lbs |  |  |  | 10 |  |  | $50.00 | $51.25 | $51.75 | $52.50 | $53.75 | $55.00 | $56.25 | $57.50 | $58.75 | $60.00 | $61.25 | $62.50 | $63.75 | $65.00 | $66.25 | $79.65 | Yes |  |  |  | 37 | 0 | 81 | 1 |  | 120 | 3 | 1 | 1 |  |  | 0 |  | 1 | 134 | 246 | 0 | [5 empty] | N | Billable Expense Income | $3.86 | $2.58 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | www.test.com |  |  | No | No | No
Active | CLH-36WA1 | Paddle Lamp | CLEARANCE - FINAL SALE - 6 MONTH WARRANTY - Paddlelamp, 36W, 5000K, 120-277V, 4008lm, E26 Base, Black, 5-year warranty, cUL, DLC | 36W | 5000K | 120-277V |  | 4008 |  | 120° |  | 72.8 | 50000 | IP51 |  | 0.9 | -20°C to 45°C | Magnesium Alloy + AL+PC | E26 |  |  |  | Black |  |  |  | Active |  |  |  |  | 8 | [9 empty] | 4 | 845599050131 | 10845599050138 | $49.00 | $50.22 | $50.72 | $51.45 | $52.68 | $53.90 | $55.13 | $56.35 | $57.58 | $58.80 | $60.03 | $61.25 | $62.47 | $63.70 | $64.93 | $78.06 | Yes |  |  | 10-E-2 | 68 | 0 | 484 | 0 |  | 80 | 0 | 0 | 0 |  |  | 0 |  | 0 | 535 | 632 | 0 | cUL, DLC |  |  |  | PERBPD4Q | N | Sales of Product Income | $6.00 | $5.00 | Out of Scope | Cost of Goods Sold | Atlas Breeze |  |  | China | [6 empty] | FL04-150W-50K-WH |  |  |  |  | Paddle Lamp |  |  | No | No | No
Active | CLW-125WBCA1-E50K | Corn Lamp | Cornlamp, 125W, 5000K, 120-277V, 15142lm, E39 Base, White, 5-year warranty, cUL, DLC, IP64, RoHS | [23 empty] | Active | [14 empty] | 4 |  |  | $100.00 | $102.50 | $103.50 | $105.00 | $107.50 | $110.00 | $112.50 | $115.00 | $117.50 | $120.00 | $122.50 | $125.00 | $127.50 | $130.00 | $132.50 | $159.30 | Yes |  |  |  | 0 | 0 | 96 | 10 |  | 77 | 9 | 0 | 0 |  |  | 2 |  | 0 | 51 | 195 | 22 | [5 empty] | N | Billable Expense Income | $0.00 | $0.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [10 empty] | CSC-T8-18W-P&P-50K | Corn Lamp | Tesy CSC-T8-18W-P&P-50K | test | No | Yes | No |  |  | Accessories | Auxiliary Products | AWP02 series
Active | CSC-T8-18W-P&P-50K | Plug & Play Tube | Plug & Play Tube | 18W | 5000K | 120-277V |  | 2351 | 124.99 LM/W | 300° | [16 empty] | Active | [6 empty] | 78.0 lbs | [7 empty] | 4 |  |  | $100.00 | $102.50 | $103.50 | $105.00 | $107.50 | $110.00 | $112.50 | $115.00 | $117.50 | $120.00 | $122.50 | $125.00 | $127.50 | $130.00 | $132.50 | $159.30 | Yes |  |  |  | 0 | 0 | 108 | 10 |  | 73 | 7 | 26 | 6 |  |  | 1 |  | 26 | 179 | 232 | 0 | [5 empty] | N | Billable Expense Income | $55.00 | $11.00 | Out of Scope | Cost of Goods Sold | Coffee Maker |  |  | China | [11 empty] | Plug & Play Tube |  |  | No | No | No
Active | Discount | Discount | Discount | [23 empty] | Active | [14 empty] | 3 |  |  | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | $0.00 | Yes |  |  |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  |  | 0 |  | 0 | 0 | 0 | 0 | [5 empty] | N | Billable Expense Income | $3.00 | $3.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | Discount |  |  | No | No | No
Active | FL01-150W-SF | Daymaker series Flood / Area Light | Daymaker, Area Flood Light, 150W, 5000K, 120-277V, 18752lm, Slip Fitter, Matte Black, 90x120 deg, 10-year warranty, cUL, DLC, FCC, Hg, IP65, RoHS. Daymaker, Area Flood Light, 150W, 5000K, 120-277V, 18752lm, Slip Fitter, Matte Black, 90x120 deg, 10-year warranty, cUL, DLC, FCC, Hg, IP65, RoHS | 150W | 5000K | 120-277V |  | 18752 | 123 LM/W | 90 x 120° | 0-10V | 82.3 | 50000 | IP65 | 6.41% | 0.93 | -40°C to 40°C | Aluminum |  |  | Slip Fit |  | Matte Black | 4 in |  |  | Not Yet Active | 5.2 IN | 1.6 IN | 5.2 IN | 11.2 lbs | 8 |  | 4.5 lbs | 5.7 IN | 5.3 IN | 8.1 IN | 5 lbs | 2.22 IN | 5.9 IN | 4.6 IN | 9 | 845599010289 | 10845599010286 | $150.00 | $153.75 | $155.25 | $157.50 | $161.25 | $165.00 | $168.75 | $172.50 | $176.25 | $180.00 | $183.75 | $187.50 | $191.25 | $195.00 | $198.75 | $238.95 | Yes |  |  |  | 85 | 0 | 545 | 75 |  | 216 | 40 | 8 | 7 |  |  | 174 |  | 8 | 973 | 1165 | 50 | cUL, DLC |  |  |  | PRTPFRUA | N | Sales of Product Income | $2.00 | $0.80 | Out of Scope | Cost of Goods Sold | Supplier ABC | 12345 | 9998889 | China | 445566 |  | 3 | [7 empty] | FL01-150W-SF | Daymaker series Flood / Area Light | 150W ¦ 5000K ¦ Slip Fit Mount | Our best-selling series Replaces 400W HID Comes with Slip Fitter Mount | No | Yes | No |  | 150W ¦ 5000K ¦ Slip Fit Mount | Accessories | Flood and Area Lights | Solar Flood Light | A Test File 10_10062022080633.pdf |  | RWP-80W-40K-IES.ies | SS-HG70-20W-BK-IES.ies | RWP-80W-40K-IES.ies |  | A Test File 10_10062022080633.pdf | A Test File 10_10062022080633.pdf | A Test File 10_10062022080651.pdf | A Test File 10_10062022080651.pdf | A Test File 10_10062022080604.pdf | A Test File 10_10062022080604.pdf | A Test File 10_10062022080619.pdf | A Test File 10_10062022080619.pdf | A Test File 10_10062022080627.pdf | A Test File 10_10062022080636.pdf | FL01-100W-SF-Low-Res-Photo-1.jpg | FL01-100W-SF-Low-Res-Photo-1_10062022080659.jpg | FL01-100W-SF-High-Res-Photo-1.jpg | FL01-100W-SF-High-Res-Photo-1_10062022080659.jpg | FL01-100W-SF-High-Res-Photo-1_10062022080626.jpg | FL01-100W-SF-High-Res-Photo-1_10062022080626.jpg | test product | Daymaker series Flood Light from CSC LED with Slip Fitter Mount
Active | FL04-150W-50K-WH | Concorde series Flood / Area Light | Concorde series, Flood Light, 150W, 5000K, 120-277V, 19818lm, White, 10-year warranty, IP65, cUL. Some test notes. Concorde series, Flood Light, 150W, 5000K, 120-277V, 19818lm, White, 10-year warranty, IP65, cUL. Some test notes. 1 | 1500W | 5000K | 120-277V | 0.0 A | 19818 | 127 LM/W | 45° | 0-12V | 70 | 54000 | IP65 | 15% | 0.9 | -40°C to 40°C | Aluminum Alloy | Alloy | 12ft | Trunnion | Black | White |  | AWP02-120W-40K-347V, AWP02-80W-40K-WH-347V | Pole Mount, Multi Mount, Slipfit Mount, Motion Sensor Kit, Photocell-LV, Visor SM White | Active | 5.2 IN | 5.2 IN | 2.1 IN | 9.5 lbs | 1 | [5 empty] | 12.79 lbs | 6.2 IN | 9.4 IN | 8.0 IN | 7 | 845599011163 | 10845599011160 | $1.00 | $1.03 | $1.04 | $1.05 | $1.08 | $1.10 | $1.13 | $1.15 | $1.18 | $1.20 | $1.23 | $1.25 | $1.28 | $1.30 | $1.33 | $1.59 | Yes | OK-2 | AB-12 | NEW-1 | 50 | 7 | 33 | 10 |  | 106 | 12 | 0 | 0 |  |  | 5 |  | 0 | -480 | 226 | 116 | cETL, csc, cUL, DarkSky, DLC, DLCPremium, EnergyStar | 1234OK |  | 8724872 | PL0SFML82GT5 | Y | Sales of Product Income | $7.00 | $7.00 | Out of Scope | Cost of Goods Sold | Amber Crystals | LLLL22222 | 87126318712 | Canada | NEAT-3 | OK-2232 | OK-789 | OK-000 | A Test File 10_10062022090605.pdf | CLW-54WBCA1-P50K-Product-Sheet_10062022090605.pdf | AWP02-80W-40K-WH-347V | 210041E, FL01-150W-SF | AWP02-120W-40K-347V, AWP02-80W-40K-WH-347V | Test 1 | FL04-150W-50K-WH 1 | Concorde series Flood / Area Light | 150W ¦ 5000K ¦ Extra White | Super Slip Fitter Suitable for use with FL04 and FL04B flood/area lights Fits over a 3.5 inch outer diameter pipe. NOTE: If ordering this mount for the 450W Concorde Flood/Area Light, please advise our order desk. You will require an adapter and this will be sent to you at no extra charge (FL04-450W-RA). | Yes | Yes | No |  | 150W ¦ 5000K ¦ Extra White | Clerance | Flood and Area Lights | HB5 series | A-Test-File-10_130620220806949_051022520286912.pdf |  | SS-HG70-20W-BK-IES_130620220806121.ies | SS-HG70-20W-BK-IES_130620220806636.ies | RWP-80W-40K-IES_130620220806714.ies |  | A-Test-File-10_130620220806949_0510221219874376.pdf | A-Test-File-10_130620220806121.pdf | A-Test-File-10_130620220806121.pdf | A-Test-File-10_130620220806121.pdf | A-Test-File-10_130620220806949.pdf | A-Test-File-10_130620220806121.pdf | A-Test-File-10_130620220806949.pdf | A-Test-File-10_130620220806949.pdf | A-Test-File-10_130620220806949_0410221726796176.pdf | FL01-100W-SF-High-Res-Photo-1_130620220806121.jpg | FL01-100W-SF-Low-Res-Photo-1_130620220806949.jpg | FL01-100W-SF-Low-Res-Photo-1_130620220806949_090323427307925.jpg | 210041-High-Res-Photo-1_100323925262862.jpg | 210041-High-Res-Photo-1_10032367375887.jpg |  |  | csc,led,cscled..... | csc,led,cscled..... Description testing here!!
Active | FL04B-SHIELD-SM | FL04B Visors | Visor for 100W, 150W, & 200W FL04B series Flood Lights, Bronze data |  |  |  |  | 15230 | [10 empty] | Grey | [7 empty] | End of Life |  |  |  | 4 lbs | 4 | [5 empty] | 12.00 lbs |  |  |  | 11 | 845599011958 | 10845599011955 | $9.28 | $9.51 | $9.60 | $9.74 | $9.98 | $10.21 | $10.44 | $10.67 | $10.90 | $11.14 | $11.37 | $11.60 | $11.83 | $12.06 | $12.30 | $14.78 | Yes |  |  | 10-G-1 | 79 | 20 | 69 | 50 |  | 77 | 10 | 0 | 0 |  |  | 0 |  | 0 | 186 | 305 | 29 | DarkSky, DLC |  |  |  |  | N | Sales of Product Income | $6.66 | $4.50 | Out of Scope | Cost of Goods Sold | Coffee Maker |  |  | China | [6 empty] | FL01-150W-SF |  |  |  | FL04B-SHIELD-SM | FL04B Visors | For 100W-200W FL04B Fixtures | Visor suitable for 100W-200W FL04B flood/area lights Bronze Finish | No | Yes | No |  | Visor for 100W-200W FL04Bs | Outdoor | Flood and Area Lights | Solar Flood Light | [16 empty] | FL04B-SHIELD-SM-Low-Res-Photo-1.jpg |  | FL04B-SHIELD-SM-High-Res-Photo-1.jpg | FL04B-SHIELD-SM-High-Res-Photo-2.jpg | FL04B-SHIELD-SM-High-Res-Photo-3.jpg |  | LED Flood Light Visor | Visor for FL04B Flood Light and Area Light
Active | HB7B-150W-50K-UD-GL | HB7B Series High Bay | HB7B Pendant High Bay, 150W, 5000K, 120-347V, 22,940 lm, Glass Lens, DC Sensor Receptacle, 2m Cable, 5-year warranty, cUL | 80W | 3000K,4000K,5000K | 347V |  | 50 | 50 LM/W | 50° | 90V | 90 | 50 | 5 | 12% | 11 | 50°C to 4°C | 12 | 2 |  | 1 |  | red |  |  |  | Active |  |  |  | 5 lbs | 2 | [5 empty] | 5 lbs |  |  |  | 5 | 2 | 2 | $100.00 | $102.50 | $103.50 | $105.00 | $107.50 | $110.00 | $112.50 | $115.00 | $117.50 | $120.00 | $122.50 | $125.00 | $127.50 | $130.00 | $132.50 | $159.30 | Yes |  | 1 | 2 | 0 | 0 | 7 | 0 |  | 14 | 0 | 0 | 0 |  |  | 0 |  | 0 | -32 | 21 | 0 | [5 empty] | N | Billable Expense Income | $100.00 | $0.00 | Out of Scope | Cost of Goods Sold | Coffee Maker | [13 empty] | HB7B Series High Bay | HB7B Series High Bay | HB7B Series High Bay | HB7B Series High Bay | No | Yes | No |  |  | Industrial | Controls - Cables | HB5 series |  |  | RWP-80W-40K-IES_13062022010600.ies |  |  |  | baloon-img_130620220306644.png | [9 empty] | baloon_13062022010647.png |  | FL01-100W-SF-Low-Res-Photo-1_13062022010631.jpg
Active | HB7C-100W-50K-UD | HB7C High Bay | HB7C High Bay, 100W, 5000K, 120-347V, IP65, 5-year warranty | 100W | 5000K | [21 empty] | Active | [14 empty] | 2 |  |  | $75.00 | $76.88 | $77.63 | $78.75 | $80.63 | $82.50 | $84.38 | $86.25 | $88.13 | $90.00 | $91.88 | $93.75 | $95.63 | $97.50 | $99.38 | $119.48 | Yes |  |  |  | 98 | 0 | 85 | 0 |  | 92 | 0 | 0 | 0 |  |  | 0 |  | 0 | 267 | 275 | 0 | [5 empty] | N | Billable Expense Income | $2.00 | $2.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | HB7C High Bay |  |  | No | No | No
Future | Inventory - 1 | Inventory - 1 | Inventory - 1 | 50 | [22 empty] | Active Mature | [14 empty] | 5 |  |  | $100.00 | $102.50 | $103.50 | $105.00 | $107.50 | $110.00 | $112.50 | $115.00 | $117.50 | $120.00 | $122.50 | $125.00 | $127.50 | $130.00 | $132.50 | $159.30 | Yes |  |  |  | 0 | 0 | 5 |  |  | 5 |  | 0 | 0 |  |  | 0 |  | 0 | 10 | 10 | 0 | [5 empty] | N | Billable Expense Income | $5.00 | $5.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | Inventory - 1 |  |  | No | No | No
Active | New Product 22B | Product 22B | Product 22B | [23 empty] | Active Mature | [14 empty] | 2 |  |  | $1.00 | $1.03 | $1.04 | $1.05 | $1.08 | $1.10 | $1.13 | $1.15 | $1.18 | $1.20 | $1.23 | $1.25 | $1.28 | $1.30 | $1.33 | $1.59 | Yes |  |  |  | 0 | 0 | 82 |  |  | 55 |  | 0 | 0 |  |  | 0 |  | 0 | 103 | 137 | 0 | [5 empty] | N | Billable Expense Income | $2.00 | $2.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | Product 22B |  |  | No | No | No |  |  |  | Controls - Remotes
Inactive | Product Inventory-1 | Product Inventory-1 | Product Inventory-1 | 500 | [12 empty] | 50°C to | [9 empty] | Active Mature | [14 empty] | 6 |  |  | $1.00 | $1.03 | $1.04 | $1.05 | $1.08 | $1.10 | $1.13 | $1.15 | $1.18 | $1.20 | $1.23 | $1.25 | $1.28 | $1.30 | $1.33 | $1.59 | Yes |  |  |  | 0 | 0 | 50 |  |  | 55 |  | 0 | 0 |  |  | 0 |  | 0 | 105 | 105 | 0 | [5 empty] | N | Billable Expense Income | $3.49 | $2.85 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | Product Inventory-1 |  |  | No | No | No
Inactive | Product-10001-Inventory | Product-10001-Inventory -1 | Product-10001-Inventory | [23 empty] | Active Mature | [14 empty] | 2 |  |  | $100.00 | $102.50 | $103.50 | $105.00 | $107.50 | $110.00 | $112.50 | $115.00 | $117.50 | $120.00 | $122.50 | $125.00 | $127.50 | $130.00 | $132.50 | $159.30 | Yes |  |  |  | 0 | 0 | 5 |  |  | 5 |  | 0 | 0 |  |  | 0 |  | 0 | 10 | 10 | 0 | [5 empty] | N | Billable Expense Income | $100.00 | $0.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [10 empty] | Product-10001-Inventory | Product-10001-Inventory -1 | Product-10001-Inventory Product-10001-Inventory | Product-10001-InventoryProduct-10001-InventoryProduct-10001-InventoryProduct-10001-InventoryProduct-10001-Inventory Product-10001-InventoryProduct-10001-Inventory Product-10001-InventoryProduct-10001-Inventory\ Product-10001-InventoryProduct-10001-Inventory | Yes | Yes | Yes |  | Test this all things fast | Outdoor | Controls - Cords | Area Light | 51rOS8zgBIL_SL1500__1608221303113348.jpg |  | RWP-80W-40K-IES_13062022010600_160822105052598.ies | RWP-80W-40K-IES_13062022010600_1608221524344891.ies | RWP-80W-40K-IES_13062022010600_160822837890441.ies | RWP-80W-40K-IES_13062022010600_160822830873528.ies | bitcoin-img_160822590922309.png | bitcoin-img_160822731400613.png | bitcoin-img-2_160822540994510.png | A-Test-File-10_130620220806949_1608221252844321.pdf | Pdf_941585700230722_1708221371733207.pdf | headphone1_160822456061484.jpg | image_1608221305409775.png | 39200905_160822118553028.jpg |  | Wire-Setup_160822322448471.exe | headphone1_16082228162766.jpg | FL04-150W-50K-WH-High-Res-Photo-2_1608221619382559.jpg | istockphoto_1608221718337123.jpg | 51rOS8zgBIL_SL1500__1608221680435712.jpg | image_160822764744667.jpg | FL04-150W-50K-WH-High-Res-Photo-2_160822553140139.jpg | LED Wall Pack,LED Commercial Wall Pack,LED Architectural Wall Pack,120W LED Wall Pack,Architectural Wall Pack,AWP | LED Wall Pack,LED Commercial Wall Pack,LED Architectural Wall Pack,120W LED Wall Pack,Architectural Wall Pack,AWP
Active | PTA02-100W-3CCT-UD | Test Product 10 | Test product description number ten. | 100W | 5000K | 120-347V |  | 1000 | [8 empty] | 40°C to 45°C |  |  | 1 | [6 empty] | Active Mature | [14 empty] | 4 |  |  | $2.00 | $2.05 | $2.07 | $2.10 | $2.15 | $2.20 | $2.25 | $2.30 | $2.35 | $2.40 | $2.45 | $2.50 | $2.55 | $2.60 | $2.65 | $3.19 | Yes |  |  |  | 0 | 0 | 1 | 0 |  | 1 | 0 | 0 | 0 |  |  | 0 |  | 0 | -26 | 2 | 0 | [5 empty] | N | Billable Expense Income | $5.00 | $5.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [10 empty] | PTA02-100W-3CCT-UD | Test Product 10 | 100W l 3CCT l 120-347V | Elegant Look And Design Ideal For Use In Parking Lots, Pathways, Parks, And More Colour Tunable (3000K / 4000K / 5000K) Bronze Finish Complete With Shorting Cap Optional Photocell Sold Separately | Yes | Yes | No |  |  | Clerance | Wall Packs | Lumitape | [16 empty] | PTA02-100W-Low-Res-Photo-1C.jpeg |  | PTA02-100W-3CCT-UD-High-Res.jpeg
Active | QB-Insert | QB-Insert Website | QB-Insert Description | [23 empty] | Active | [14 empty] | 13 |  |  | $60.00 | $61.50 | $62.10 | $63.00 | $64.50 | $66.00 | $67.50 | $69.00 | $70.50 | $72.00 | $73.50 | $75.00 | $76.50 | $78.00 | $79.50 | $95.58 | Yes |  |  |  | 50 | 0 | 50 | 0 |  | 50 | 0 | 0 | 0 |  |  | 0 |  | 0 | 150 | 150 | 0 | [5 empty] | N | Billable Expense Income | $3.49 | $2.85 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | QB-Insert Website |  |  | No | No | No
Active | Restocking Fee | Restocking Fee | RMA restocking fee. | [23 empty] | Active | [14 empty] | 13 |  |  | $1.00 | $1.03 | $1.04 | $1.05 | $1.08 | $1.10 | $1.13 | $1.15 | $1.18 | $1.20 | $1.23 | $1.25 | $1.28 | $1.30 | $1.33 | $1.59 | Yes |  |  |  | 100 | 0 | 100 | 0 |  | 100 | 0 | 0 | 0 |  |  | 0 |  | 0 | 300 | 300 | 0 | [5 empty] | N | Billable Expense Income | $55.00 | $5.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [9 empty] | This is a restocking fee, used for RMAs. |  | Restocking Fee |  |  | No | No | No
Active | T-120 | tthirteen | hghg | [23 empty] | Discontinued | [14 empty] | 6 |  |  | $56.00 | $57.40 | $57.96 | $58.80 | $60.20 | $61.60 | $63.00 | $64.40 | $65.80 | $67.20 | $68.60 | $70.00 | $71.40 | $72.80 | $74.20 | $89.21 | Yes |  |  |  | 5 | 0 | 10 | 0 |  | 2 | 0 | 0 | 0 |  |  | 0 |  | 0 | 6 | 17 | 0 | [5 empty] | N | Billable Expense Income | $5.85 | $4.85 | Out of Scope | Cost of Goods Sold |  |  |  | China | [9 empty] | ht |  | tthirteen |  |  | No | No | No
Active | T12-Test-PRODD | www.test12.com | Product description | Watts | ColorTemperature | Voltage | 5.7 A | 11202.17 | 133 LM/W | BeamAngle° | DimmableV | CRI-D | LifeL70 | IPRating | THD% | PowerFactor | 20°C to 40°C | Housing | Base | PowerCordLen | MountingType | Finish | FinishColour | 2x4 ft | AWP02-120W-40K-347V | Optional Accessories Description | Active Mature | 2.0 IN | 5.5 IN | 6.3 IN | 2.36 lbs | 1 | 12 | 50.2 lbs | 7.4 IN | 2.2 IN | 1.1 IN | 9.99 lbs | 5.9 IN | 12.6 IN | 10.0 IN | 8 | UPC | GTIN | $100.00 | $102.50 | $103.50 | $105.00 | $107.50 | $110.00 | $112.50 | $115.00 | $117.50 | $120.00 | $122.50 | $125.00 | $127.50 | $130.00 | $132.50 | $159.30 | Yes | Warehouse Location AB | Warehouse Location BC | Warehouse Location ON | 68 | 42 | 110 | 0 |  | 129 | 0 | 0 | 0 |  |  | 0 |  | 0 | 356 | 349 | 131 | DarkSky, FCC | Supplier cUL Number |  | Supplier DLC Number | CSC DLC Number | N |  | $2.85 | $8.55 | Out of Scope | Cost of Goods Sold | Amber Crystals | Product Number on Fixture | Supplier Product Number | China | Yes | HS Code | Driver Brand | Driver Model Number | sample 3_10062022050613.pdf | sample 3_10062022050613.pdf | AWP02-80W-40K-WH-347V, CLH-36WA1 | CC-3-SWITCH, CLH-36WA1 | T-120 | Notes | T12-Test-PROD | www.test12.com | T12-Test-PROD Grid Description | T12-Test-PROD | No | Yes | No |  | Website Short Description | Industrial | Controls - Dimmer | AWP02 series | SalesOrderInvoiceTemplate_0703231471970411.xlsx |  | FL02-10W-KN-IES.ies |  |  |  | sample_150620220106105.pdf | [9 empty] | baloon_09062022080637.png | [5 empty] | test1
Future | test 1234 | test name4 | tset desc4 | 52 | 4 | 4 |  | 4 | 4 LM/W | 4° | 4V | 2 | 2 | 2 | 2% | 2 | 2°C to 2°C | 2 | 2 | 2 | 2 | 2 | b |  | 210041E | b | Active |  |  |  | 20 lbs | 2 | [5 empty] | 2 lbs |  |  |  | 8 | 2 | 2 | $200.00 | $205.00 | $207.00 | $210.00 | $215.00 | $220.00 | $225.00 | $230.00 | $235.00 | $240.00 | $245.00 | $250.00 | $255.00 | $260.00 | $265.00 | $318.60 | No |  | 2 | 2 | 0 | 0 | 7 |  |  | 7 |  | 0 | 0 |  |  | 0 |  | 0 | 14 | 14 | 0 | csc | 2222 | 222 | 2222 | 222 | TBA | Billable Expense Income | $4.00 | $3.00 | Out of Scope | Cost of Goods Sold | 1 Supplier 1 | 222 | 2222222 | Chile | 22 |  | 2 | 2 | a3b9ac0f-c565-41b1-97bd-d49a3705e204.png | C-For-Beginner-Tutorial-Methods.jpeg | 210041E | FL04-150W-50K-WH | 210041E | 22222 | test | test name4 | test desc | test | No | Yes | No |  |  | Clerance | Area Lights | Corn Lamp
Active | Test Product 63 | Test Product 63 | A test product for testing purposes. | 150W | 4000K | 120-227V | [20 empty] | Active | [14 empty] | 2 |  |  | $1.00 | $1.03 | $1.04 | $1.05 | $1.08 | $1.10 | $1.13 | $1.15 | $1.18 | $1.20 | $1.23 | $1.25 | $1.28 | $1.30 | $1.33 | $1.59 | Yes |  |  |  | 460 | 100 | 779 | 0 |  | 599 | 200 | 0 | 0 |  |  | 0 |  | 0 | 1701 | 2138 | 0 | [5 empty] | N | Billable Expense Income | $22.00 | $2.00 | Out of Scope | Cost of Goods Sold |  |  |  | China | [11 empty] | Test Product 63 |  |  | No | No | No |  |  | Clerance
Active | Test Product Num 02112022 | Test Website name | Product Test Desc | 160 | 5000 | 150 |  | 1555 | 560 LM/W | [17 empty] | Active |  |  |  | 2.5 lbs | 1.8 | [5 empty] | 12.5 lbs |  |  |  | 12 |  |  | $5.00 | $5.13 | $5.18 | $5.25 | $5.38 | $5.50 | $5.63 | $5.75 | $5.88 | $6.00 | $6.13 | $6.25 | $6.38 | $6.50 | $6.63 | $7.97 | Yes |  |  |  | 14 | 0 | 16 | 0 |  | 15 | 0 | 0 | 0 |  |  | 0 |  | 0 | 45 | 45 | 0 | csc, RoHS |  |  | SDCL5654 | 162DDLc | N | Billable Expense Income | $8.76 | $8.55 | Out of Scope | Cost of Goods Sold | Test Sup added |  |  | China | [10 empty] | Test Product Num 02112022 | Test Website name | Test website grid desc | Test Web site desc | No | Yes | No |  |  | Accessories | Auxiliary Products | Cables
Active | Test Product Number 1111 | Test Website Name | test fsfsdf | [23 empty] | Active | [14 empty] | 12 |  |  | $15.00 | $15.37 | $15.53 | $15.75 | $16.13 | $16.50 | $16.88 | $17.25 | $17.63 | $18.00 | $18.38 | $18.75 | $19.13 | $19.50 | $19.88 | $23.90 | Yes |  |  |  | 44 | 0 | 56 | 0 |  | 55 | 0 | 0 | 0 |  |  | 0 |  | 0 | 155 | 155 | 0 | EnergyStar, Hg, NEMA4X |  |  |  | 123456Number | N | Billable Expense Income | $2.90 | $3.95 | Out of Scope | Cost of Goods Sold | Amber Crystals |  |  | China | [10 empty] | Test Project | Test Website Name | Test Project | test project | No | Yes | No |  |  | Accessories | Wall Packs | AWP02 series
Active | TWL-100W-50K | Temporary Work Light | Temporary Work Light, 100W, 50K, 12500lm, Hook Mount, Complete with 5m Cord and 125V Male Plug | 100W | 5000K | 120V |  | 12500 | 125 LM/W | 266° |  | >80 | 50000 | IP64 | <20% |  | -20°C to 45°C | PC & Aluminum |  |  | Hook |  | Orange |  | FL01-150W-SF | Tripod | Active |  |  |  | 4.78 lbs | 4 | [5 empty] | 16.00 lbs |  |  |  | 5 | 845599060437 | 10845599060434 | $14.99 | $15.36 | $15.51 | $15.74 | $16.11 | $16.49 | $16.86 | $17.24 | $17.61 | $17.99 | $18.36 | $18.74 | $19.11 | $19.49 | $19.86 | $23.88 | Yes |  |  | 7-D-1, 7-D-2 | 152 | 0 | 143 | 0 |  | 150 | 0 | 0 | 0 |  |  | 0 |  | 0 | 435 | 445 | 0 | cUL |  |  |  |  | N/A | Sales of Product Income | $3.45 | $8.35 | Out of Scope | Cost of Goods Sold | Amber Crystals |  | AST-CHB02-100WXYSB1 | China | [7 empty] | FL04B-SHIELD-SM |  |  |  | Temporary Work Light | 100W ¦ 5000K | Ideal for all new construction and temporary lighting applications Waterproof isolated driver Stainless steel protective enclosure Separated driver and lamp body Hook mount included Complete with 5m cord and 120V male plug | No | Yes | No |  | 100W ¦ 5000K | Indoor | Work Lights | Explosion Proof / Hazloc | TWL-100W-50K-Product-Sheet_0808222066577915.pdf | [15 empty] | TWL-100W-50K-Low-Res-Photo-1b_080822547660454.png |  | TWL-Gif-01a_080822930962609.gif | TWL-100W-50K-High-Res-Photo-2b_0808221566038870.png |  |  | LED Temporary Work Light | LED Temporary Work Light